Home - Klaus Union

ISO Sealless Pump (Magnetic Drive Pump)

SLM NV

Centrifugal Pump with Magnet Drive based on DIN EN ISO 2858 / 15783

- Flow Rate: max. 3.500 m3/h

- Delivery Head: max. 220 m L.C.

- Temperature Range: -200 °C to +550 °C

- Pressure Rating: max. PN 400

SLM AP

Centrifugal Pump with Magnet Drive acc. API 685

- Flow Rate: max. 3.500 m3/h

- Delivery Head: max. 220 m L.C.

- Temperature Range: -200 °C to +550 °C

- Pressure Rating: max. PN 400

SLM GV

Multi-Stage Centrifugal Pump with Magnet Drive based on DIN EN ISO 15783 / API 685

- Flow Rate: max. 300 m3/h

- Delivery Head: max. 2.200 m L.C.

- Temperature Range: -120 °C to +350 °C

- Pressure Rating: max. PN 250

SLM SV

Multi-Stage Side Channel Pump with Magnet Drive based on DIN EN ISO 15783

- Flow Rate: max. 42 m3/h

- Delivery Head: max. 470 m L.C.

- Temperature Range: -120°C to +250 °C

- Pressure Rating: max. PN 400

SLM NVT

Submerged Pump with Magnet Drive based on DIN EN ISO 2858 / DIN EN ISO 15783

- Flow Rate: max. 3.500 m3/h

- Delivery Head: max. 220 m L.C.

- Temperature Range: -40 °C to +200 °C

- Pressure Rating: max. PN 63

- Submerging Depth: max. 6.000 mm

NOV

Centrifugal Pump with Mechanical Seal acc. to DIN EN ISO 2858 / 5199

- Flow Rate: max. 3.500 m3/h

- Delivery Head: max. 220 m L.C.

- Temperature Range: -120 °C to +550 °C

- Pressure Rating: max. PN 400

SLM DSP-2C

Single Volute Twin Screw Pump with Magnet Drive acc. to API 676

- Flow Rate: max. 1.800 m3/h

- Differential Pressure: max. 40 bar

- Temperature Range: -120 °C to +400 °C

- Pressure Rating: max. PN 400

- Viscosity: max. 100.000 mm²/s (cSt)

..\PV VENTS.pdf